## Full Disclaimer
Insert Your Logo Here
Full Disclaimer
This tool is aimed at assisting users in decision-making by providing analysis based on various assumptions and a variety of factors. While an effort has been made to use accurate assumptions and factors in developing this tool, COOPER LIGHTING MAKES NO WARRANTY OR GUARANTEE, EXPRESS OR IMPLIED, (i) THAT THE RESULTS DESCRIBED HEREIN WILL BE OBTAINED UNDER END-USE CONDITIONS, OR (ii) AS TO THE EFFECTIVENESS, SAFETY OR APPROPRIATENESS OF ANY DESIGN INCORPORATING COOPER LIGHTING MATERIALS, PRODUCTS, USES, RECOMMENDATIONS OR ADVICE. IN NO EVENT SHALL COOPER LIGHTING BE RESPONSIBLE FOR ANY LOSS RESULTING FROM ANY USE OF THIS TOOL.
Each user bears full responsibility for making its own determination as to the suitability of Cooper Lighting’s materials, products, recommendations, analyses, or advice for its own particular use. Each user must identify and perform all tests and analyses necessary to assure that its products and designs incorporating Cooper Lighting material or products will be safe and suitable for use under end-use conditions. Nothing in this or any other document, nor any oral recommendation or advice, shall be deemed to alter, vary, supersede, or waive any provisions of this Disclaimer, unless any such modification is specifically agreed to in writing signed by Cooper Lighting. No statement contained herein concerning a possible or suggested use of any material, product or design is intended, or should be construed, to grant any license under any patent or other intellectual property right of Cooper Lighting or any it subsidiaries or affiliates covering such use or design, or as a recommendation for the use of such material, product or design in the infringement of any patent or other intellectual property right.
Questions about models or assumptions used in these calculations may be addressed to:
Cooper Lighting
1121 Highway 74 South
Peachtree City, GA. 30269
Tel: (770) 486-4800
E-mail: EnergySolutions@cooperlighting.com

## HOME
Insert Logo Here |  |  | Cold & Refrigerated Environment:
Our world is increasingly recognizing the importance of environmental sustainability and efficiency in building design. Good business is cost-conscious and environmentally responsible while driving more to the bottom line through increased productivity and a smaller carbon footprint.
The Energy Efficiency Tool Kit includes calculators to helps you to make informed decisions when considering an energy efficient and sustainable lighting system.
|  | Payback Analysis |  | 10 Year Maintenance Cost Estimator
|  | Lighting Power Density (w/sqft) & EZ EPAct |  | Productivity Impact of Lighting Retrofit
|  | EPAct Certification Form |  | Retrofit Luminaire Selector
|  | Environmental Impact |  | Helpful Website Links
Additional Step Up tools for non cold and refrigerated environments are available through the Cooper Energy Solutions website by clicking the Step Up logo.
V10132008 Copyright of Cooper Lighting 2008 |  |  |  |  | Click Here for the full Energy Efficiency Tool Kit Disclaimer
Return to TOP
Cold & Refrigerated
|  | Sheets | Existing Sheet |  |  | Modifications
|  | Multiple Luminaires | Multiple Luminaires |  |  | Add factor to look up different temps for each layer of lighting

## NPV Disc (hidden)
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1% | 0.99 | 0.98 | 0.971 | 0.961 | 0.951 | 0.942 | 0.933 | 0.923 | 0.914 | 0.905 | 0.896 | 0.887 | 0.879 | 0.87 | 0.861 | 0.853 | 0.844 | 0.836 | 0.828 | 0.82 | 0.811 | 0.803 | 0.795 | 0.788 | 0.78 | 0.772 | 0.764 | 0.757 | 0.749 | 0.742
2% | 0.98 | 0.961 | 0.942 | 0.924 | 0.906 | 0.888 | 0.871 | 0.853 | 0.837 | 0.82 | 0.804 | 0.788 | 0.773 | 0.758 | 0.743 | 0.728 | 0.714 | 0.7 | 0.686 | 0.673 | 0.66 | 0.647 | 0.634 | 0.622 | 0.61 | 0.598 | 0.586 | 0.574 | 0.563 | 0.552
3% | 0.971 | 0.943 | 0.915 | 0.888 | 0.863 | 0.837 | 0.813 | 0.789 | 0.766 | 0.744 | 0.722 | 0.701 | 0.681 | 0.661 | 0.642 | 0.623 | 0.605 | 0.587 | 0.57 | 0.554 | 0.538 | 0.522 | 0.507 | 0.492 | 0.478 | 0.464 | 0.45 | 0.437 | 0.424 | 0.412
4% | 0.962 | 0.925 | 0.889 | 0.855 | 0.822 | 0.79 | 0.76 | 0.731 | 0.703 | 0.676 | 0.65 | 0.625 | 0.601 | 0.577 | 0.555 | 0.534 | 0.513 | 0.494 | 0.475 | 0.456 | 0.439 | 0.422 | 0.406 | 0.39 | 0.375 | 0.361 | 0.347 | 0.333 | 0.321 | 0.308
5% | 0.952 | 0.907 | 0.864 | 0.823 | 0.784 | 0.746 | 0.711 | 0.677 | 0.645 | 0.614 | 0.585 | 0.557 | 0.53 | 0.505 | 0.481 | 0.458 | 0.436 | 0.416 | 0.396 | 0.377 | 0.359 | 0.342 | 0.326 | 0.31 | 0.295 | 0.281 | 0.268 | 0.255 | 0.243 | 0.231
6% | 0.943 | 0.89 | 0.84 | 0.792 | 0.747 | 0.705 | 0.665 | 0.627 | 0.592 | 0.558 | 0.527 | 0.497 | 0.469 | 0.442 | 0.417 | 0.394 | 0.371 | 0.35 | 0.331 | 0.312 | 0.294 | 0.278 | 0.262 | 0.247 | 0.233 | 0.22 | 0.207 | 0.196 | 0.185 | 0.174
7% | 0.935 | 0.873 | 0.816 | 0.763 | 0.713 | 0.666 | 0.623 | 0.582 | 0.544 | 0.508 | 0.475 | 0.444 | 0.415 | 0.388 | 0.362 | 0.339 | 0.317 | 0.296 | 0.277 | 0.258 | 0.242 | 0.226 | 0.211 | 0.197 | 0.184 | 0.172 | 0.161 | 0.15 | 0.141 | 0.131
8% | 0.926 | 0.857 | 0.794 | 0.735 | 0.681 | 0.63 | 0.583 | 0.54 | 0.5 | 0.463 | 0.429 | 0.397 | 0.368 | 0.34 | 0.315 | 0.292 | 0.27 | 0.25 | 0.232 | 0.215 | 0.199 | 0.184 | 0.17 | 0.158 | 0.146 | 0.135 | 0.125 | 0.116 | 0.107 | 0.099
9% | 0.917 | 0.842 | 0.772 | 0.708 | 0.65 | 0.596 | 0.547 | 0.502 | 0.46 | 0.422 | 0.388 | 0.356 | 0.326 | 0.299 | 0.275 | 0.252 | 0.231 | 0.212 | 0.194 | 0.178 | 0.164 | 0.15 | 0.138 | 0.126 | 0.116 | 0.106 | 0.098 | 0.09 | 0.082 | 0.075
10% | 0.909 | 0.826 | 0.751 | 0.683 | 0.621 | 0.564 | 0.513 | 0.467 | 0.424 | 0.386 | 0.35 | 0.319 | 0.29 | 0.263 | 0.239 | 0.218 | 0.198 | 0.18 | 0.164 | 0.149 | 0.135 | 0.123 | 0.112 | 0.102 | 0.092 | 0.084 | 0.076 | 0.069 | 0.063 | 0.057
11% | 0.901 | 0.812 | 0.731 | 0.659 | 0.593 | 0.535 | 0.482 | 0.434 | 0.391 | 0.352 | 0.317 | 0.286 | 0.258 | 0.232 | 0.209 | 0.188 | 0.17 | 0.153 | 0.138 | 0.124 | 0.112 | 0.101 | 0.091 | 0.082 | 0.074 | 0.066 | 0.06 | 0.054 | 0.048 | 0.044
12% | 0.893 | 0.797 | 0.712 | 0.636 | 0.567 | 0.507 | 0.452 | 0.404 | 0.361 | 0.322 | 0.287 | 0.257 | 0.229 | 0.205 | 0.183 | 0.163 | 0.146 | 0.13 | 0.116 | 0.104 | 0.093 | 0.083 | 0.074 | 0.066 | 0.059 | 0.053 | 0.047 | 0.042 | 0.037 | 0.033
13% | 0.885 | 0.783 | 0.693 | 0.613 | 0.543 | 0.48 | 0.425 | 0.376 | 0.333 | 0.295 | 0.261 | 0.231 | 0.204 | 0.181 | 0.16 | 0.141 | 0.125 | 0.111 | 0.098 | 0.087 | 0.077 | 0.068 | 0.06 | 0.053 | 0.047 | 0.042 | 0.037 | 0.033 | 0.029 | 0.026
14% | 0.877 | 0.769 | 0.675 | 0.592 | 0.519 | 0.456 | 0.4 | 0.351 | 0.308 | 0.27 | 0.237 | 0.208 | 0.182 | 0.16 | 0.14 | 0.123 | 0.108 | 0.095 | 0.083 | 0.073 | 0.064 | 0.056 | 0.049 | 0.043 | 0.038 | 0.033 | 0.029 | 0.026 | 0.022 | 0.02
15% | 0.87 | 0.756 | 0.658 | 0.572 | 0.497 | 0.432 | 0.376 | 0.327 | 0.284 | 0.247 | 0.215 | 0.187 | 0.163 | 0.141 | 0.123 | 0.107 | 0.093 | 0.081 | 0.07 | 0.061 | 0.053 | 0.046 | 0.04 | 0.035 | 0.03 | 0.026 | 0.023 | 0.02 | 0.017 | 0.015

## Sheet2 (hidden)
Series Name | Comparison System | Catalog Number | Energy Savings | Light Output | Mounting Height | Lamp Replacement Selection | Ambient Temperature | Motion Sensor | Mounting Height | Comparison System | Ambient Temperature | Motion Sensor | Lamp Replacement Selection | Series Name | Comparison System | Catalog Number | Energy Savings | Light Output | Mounting Height | Lamp Replacement Selection | Ambient Temperature | Motion Sensor | Mounting Height | Comparison System | Ambient Temperature | Motion Sensor | Lamp Replacement Selection | Series Name | Comparison System | Catalog Number | Energy Savings | Light Output | Mounting Height | Lamp Replacement Selection | Ambient Temperature | Motion Sensor
2HBG Series | 250W HPS | 2HBG-432-ER8/PLUS | 68% | -33.37% | 20' | T8 | 77F (25C) | Yes | Please Select | Please Select | Please Select | Please Select | T8 | 2HB Series | 400W MH | 2HB632 | 52.09% | 20.08% | 30' | T8 | 77F (25C) | No | Please Select | Please Select | Please Select | Yes | T5 | 2HB Series | 400W MH | 2HB654HT5 | 20.22% | 44.1% | 30' | T5 | 77F (25C) | Yes
2HBG Series | 250W HPS | 2HBG-454T5-EBT1 | 51% | 2.625% | 20' | T5 | 77F (25C) | Yes | [5 empty] | 2HBG Series | 400W MH | 2HBG-632-EB8/PLUS | 51.21% | 11.08% | 30' | T8 | 77F (25C) | No | [5 empty] | 2HB Series | 400W MH | 2HB654T5 | 20.22% | 44.1% | 30' | T5 | 77F (25C) | Yes
2HBHD Series | 250W HPS | 2HBHD-432-CL-EB8/PLUS | 51% | -1.77% | 20' | T8 | 77F (25C) | No | [5 empty] | 2HBHD Series | 400W MH | 2HBHD-632-CL-EB8/PLUS | 51.21% | 9.322% | 30' | T8 | 77F (25C) | No | [5 empty] | 2HBG Series | 400W MH | 2HBG-654T5-EBT2 | 24% | 35.08% | 30' | T5 | 77F (25C) | Yes
2HBHD Series | 250W HPS | 2HBHD-432-CL-ER8/PLUS | 51% | -1.77% | 20' | T8 | 77F (25C) | Yes | [5 empty] | HB Series | 400W MH | HB432 | 67% | -19.89% | 30' | T8 | 77F (25C) | No | [5 empty] | 2HBHD Series | 400W MH | 2HBHD-654T5-EBT2 | 24% | 14.77% | 30' | T5 | 77F (25C) | Yes
2HBHD Series | 250W HPS | 2HBHD-454T5-EBT1 | 24% | 4.35% | 20' | T5 | 77F (25C) | Yes | [5 empty] | I5/I8 Series | 400W MH | I8-432-EB8/PLUS | 51% | 15.07% | 30' | T8 | 77F (25C) | No | [5 empty] | HB Series | 400W MH | HB454HT5 | 49% | 16.77% | 30' | T5 | 77F (25C) | Yes
HB Series | 250W HPS | HB-332-EB8/PLUS | 64% | -20% | 20' | T8 | 77F (25C) | No | [5 empty] | MicroBay Series | 400W MH | (3) 8TMB-132-FB-EB81 | 4% | 14% | 30' | T8 | 77F (25C) | No | [5 empty] | HB Series | 400W MH | HB454T5 | 49% | 16.77% | 30' | T5 | 77F (25C) | Yes
HB Series | 250W HPS | HB-332-ER8/PLUS | 64% | -20% | 20' | T8 | 77F (25C) | Yes | [19 empty] | I5/I8 Series | 400W MH | I5455 | 50% | 16.24% | 30' | T5 | 77F (25C) | Yes
HB Series | 250W HPS | HB-354T5-EBT1 | 39% | 16.35% | 20' | T5 | 77F (25C) | Yes | [19 empty] | MicroBay Series | 400W MH | (2) 8TMB-154T5-FB-EBT2 | -3% | 20% | 30' | T5 | 77F (25C) | Yes
I5/I8 Series | 250W HPS | I8-332-EB8/PLUS | 78% | -13.24% | 20' | T8 | 77F (25C) | No
2HBG Series | 250W MH | 2HBG-432-EB8/PLUS | 68% | -33.37% | 20' | T8 | 77F (25C) | No
2HBG Series | 250W MH | 2HBG-454T5-EBT1 | 50% | 2.625% | 20' | T5 | 77F (25C) | Yes
2HBHD Series | 250W MH | 2HBHD-432-CL-EB8/PLUS | 50% | 21.41% | 20' | T8 | 77F (25C) | No
2HBHD Series | 250W MH | 2HBHD-432-CL-ER8/PLUS | 50% | 21.41% | 20' | T8 | 77F (25C) | Yes
2HBHD Series | 250W MH | 2HBHD-454T5-EBT1 | 22% | 26.14% | 20' | T5 | 77F (25C) | Yes
HB Series | 250W MH | HB-332-EB8/PLUS | 63% | 8% | 20' | T8 | 77F (25C) | No
HB Series | 250W MH | HB-332-ER8/PLUS | 63% | 8% | 20' | T8 | 77F (25C) | Yes
HB Series | 250W MH | HB-354T5-EBT1 | 38% | 35.4% | 20' | T5 | 77F (25C) | Yes
I5/I8 Series | 250W MH | I8-332-EB8/PLUS | 66% | 12.56% | 20' | T8 | 77F (25C) | No
Arctic Bay Series | 250W HPS | 2AB-454-UNV-EBT1 | 30% | 5% | 20' | T5 | -15F (-26C) | Yes
Arctic Bay Series | 250W MH | 2AB-454-UNV-EBT1 | 29% | 27% | 20' | T5 | -15F (-26C) | Yes
Arctic Bay Series | 250W HPS | 2AB-454-UNV-EBT1 | 30% | 14% | 20' | T5 | 0F (-18C) | Yes
Arctic Bay Series | 250W MH | 2AB-454-UNV-EBT1 | 29% | 34% | 20' | T5 | 0F (-18C) | Yes
2HB Series | 400W HPS | 2HB632 | 53.02% | 0.332% | 30' | T8 | 77F (25C) | No
2HB Series | 400W MH | 2HB632 | 52.09% | 20.08% | 30' | T8 | 77F (25C) | No
2HB Series | 400W HPS | 2HB632PS | 53.02% | 0.332% | 30' | T8 | 77F (25C) | Yes
2HB Series | 400W MH | 2HB632PS | 52.09% | 20.08% | 30' | T8 | 77F (25C) | Yes
2HB Series | 400W HPS | 2HB654HT5 | 21.77% | 30.29% | 30' | T5 | 77F (25C) | Yes
2HB Series | 400W MH | 2HB654HT5 | 20.22% | 44.1% | 30' | T5 | 77F (25C) | Yes
2HB Series | 400W HPS | 2HB654T5 | 21.77% | 30.29% | 30' | T5 | 77F (25C) | Yes
2HB Series | 400W MH | 2HB654T5 | 20.22% | 44.1% | 30' | T5 | 77F (25C) | Yes
2HBG Series | 400W HPS | 2HBG-632-EB8/PLUS | 51.21% | 11.08% | 30' | T8 | 77F (25C) | No
2HBG Series | 400W MH | 2HBG-632-EB8/PLUS | 51.21% | 11.08% | 30' | T8 | 77F (25C) | No
2HBG Series | 400W HPS | 2HBG-632-ER8/PLUS | 51.21% | 11.08% | 30' | T8 | 77F (25C) | Yes
2HBG Series | 400W MH | 2HBG-632-ER8/PLUS | 51.21% | 11.08% | 30' | T8 | 77F (25C) | Yes
2HBG Series | 400W HPS | 2HBG-654T5-EBT2 | 25% | 35.08% | 30' | T5 | 77F (25C) | Yes
2HBG Series | 400W MH | 2HBG-654T5-EBT2 | 24% | 35.08% | 30' | T5 | 77F (25C) | Yes
2HBHD Series | 400W HPS | 2HBHD-632-CL-EB8/PLUS | 52.16% | -13.08% | 30' | T8 | 77F (25C) | No
2HBHD Series | 400W MH | 2HBHD-632-CL-EB8/PLUS | 51.21% | 9.322% | 30' | T8 | 77F (25C) | No
2HBHD Series | 400W HPS | 2HBHD-632-CL-ER8/PLUS | 52.16% | -13.08% | 30' | T8 | 77F (25C) | Yes
2HBHD Series | 400W MH | 2HBHD-632-CL-ER8/PLUS | 51.21% | 9.322% | 30' | T8 | 77F (25C) | Yes
2HBHD Series | 400W HPS | 2HBHD-654T5-EBT2 | 25% | -6.278% | 30' | T5 | 77F (25C) | Yes
2HBHD Series | 400W MH | 2HBHD-654T5-EBT2 | 24% | 14.77% | 30' | T5 | 77F (25C) | Yes
Arctic Bay Series | 400W HPS | 2AB-654-UNV-EBT2 | 43% | 13% | 30' | T5 | -15F (-26C) | Yes
Arctic Bay Series | 400W MH | 2AB-654-UNV-EBT2 | 42% | 31% | 30' | T5 | -15F (-26C) | Yes
Arctic Bay Series | 400W HPS | 2AB-654-UNV-EBT2 | 40% | 27% | 30' | T5 | 0F (-18C) | Yes
Arctic Bay Series | 400W MH | 2AB-654-UNV-EBT2 | 39% | 43% | 30' | T5 | 0F (-18C) | Yes
HB Series | 400W HPS | HB432 | 68% | -49.5% | 30' | T8 | 77F (25C) | No
HB Series | 400W MH | HB432 | 67% | -19.89% | 30' | T8 | 77F (25C) | No
HB Series | 400W HPS | HB432PS | 68% | -49.5% | 30' | T8 | 77F (25C) | Yes
HB Series | 400W MH | HB432PS | 67% | -19.89% | 30' | T8 | 77F (25C) | Yes
HB Series | 400W HPS | HB454HT5 | 50% | -3.785% | 30' | T5 | 77F (25C) | Yes
HB Series | 400W MH | HB454HT5 | 49% | 16.77% | 30' | T5 | 77F (25C) | Yes
HB Series | 400W HPS | HB454T5 | 50% | -3.785% | 30' | T5 | 77F (25C) | Yes
HB Series | 400W MH | HB454T5 | 49% | 16.77% | 30' | T5 | 77F (25C) | Yes
I5/I8 Series | 1000W HPS | 8I5355 | 25% | 31% | 30' | T5 | 77F (25C) | Yes
I5/I8 Series | 1000W MH | 8I5355 | 24% | 45% | 30' | T5 | 77F (25C) | Yes
I5/I8 Series | 250W HPS | I5355 | 39% | 17.32% | 30' | T5 | 77F (25C) | Yes
I5/I8 Series | 250W MH | I5355 | 38% | 36.16% | 30' | T5 | 77F (25C) | Yes
I5/I8 Series | 400W HPS | I8-432-EB8/PLUS | 51% | -13.51% | 30' | T8 | 77F (25C) | No
I5/I8 Series | 400W MH | I8-432-EB8/PLUS | 51% | 15.07% | 30' | T8 | 77F (25C) | No
I5/I8 Series | 400W HPS | I8-432-ER8/PLUS | 51% | -13.51% | 30' | T8 | 77F (25C) | Yes
I5/I8 Series | 400W MH | I8-432-ER8/PLUS | 51% | 15.07% | 30' | T8 | 77F (25C) | Yes
3HBO Series | 1000W HPS | 3HBO-832-EB/PLUS | 72.55% | 4.3% | 40' | T8 | 77F (25C) | No
3HBO Series | 1000W MH | 3HBO-832-EB/PLUS | 72.17% | -17.71% | 40' | T8 | 77F (25C) | No
3HBO Series | 1000W HPS | 3HBO-832-ER/PLUS | 72.55% | 4.3% | 40' | T8 | 77F (25C) | Yes
3HBO Series | 1000W MH | 3HBO-832-ER/PLUS | 72.17% | -17.71% | 40' | T8 | 77F (25C) | Yes
3HBO Series | 1000W HPS | 3HBO-854T5-EBT2 | 57.64% | 30.13% | 40' | T5 | 77F (25C) | Yes
3HBO Series | 1000W MH | 3HBO-854T5-EBT2 | 58% | 14.06% | 40' | T5 | 77F (25C) | Yes
3HBO Series | 1000W HPS | 3HBO-832-EB/PLUS | 72.55% | 4.3% | 40' | T8 | 77F (25C) | No
3HBO Series | 1000W MH | 3HBO-832-EB/PLUS | 72.17% | -17.71% | 40' | T8 | 77F (25C) | No
3HBO Series | 1000W HPS | 3HBO-832-ER/PLUS | 72.55% | 4.3% | 40' | T8 | 77F (25C) | Yes
3HBO Series | 1000W MH | 3HBO-832-ER/PLUS | 72.17% | -17.71% | 40' | T8 | 77F (25C) | Yes
3HBO Series | 1000W HPS | 3HBO-854T5-EBT2 | 57.64% | 30.13% | 40' | T5 | 77F (25C) | Yes
3HBO Series | 1000W MH | 3HBO-854T5-EBT2 | 58% | 14.06% | 40' | T5 | 77F (25C) | Yes
I5/I8 Series | 400W HPS | I5455 | 52% | -4.455% | 30' | T5 | 77F (25C) | Yes
I5/I8 Series | 400W MH | I5455 | 50% | 16.24% | 30' | T5 | 77F (25C) | Yes
I5/I8 Series | 1000W HPS | 8T18-454T5-EBT2 | 57.64% | 25.62% | 40' | T5 | 77F (25C) | Yes
I5/I8 Series | 1000W MH | 8T18-454T5-EBT2 | 58% | 8.51% | 40' | T5 | 77F (25C) | Yes
I5/I8 Series | 1000W HPS | 8TI8-432-EB8/PLUS | 58% | 26% | 40' | T8 | 77F (25C) | No
I5/I8 Series | 1000W MH | 8TI8-432-EB8/PLUS | 58% | 9% | 40' | T8 | 77F (25C) | No
I5/I8 Series | 1000W HPS | 8TI8-432-ER8/PLUS | 58% | 26% | 40' | T8 | 77F (25C) | Yes
I5/I8 Series | 1000W MH | 8TI8-432-ER8/PLUS | 58% | 9% | 40' | T8 | 77F (25C) | Yes
MicroBay Series | (1) 96" T12HO Strip | 8TMB-232-FB-EB81 | 61.38% | 37.2% | 30' | T8 | 77F (25C) | No
MicroBay Series | (2) 34W T12 Strip | 8TMB-232-FB-EB81 | 55.56% | 37.9% | 30' | T8 | 77F (25C) | No
MicroBay Series | (1) 96" T12HO Strip | 8TMB-232-FB-ER81 | 61.38% | 37.2% | 30' | T8 | 77F (25C) | No
MicroBay Series | (2) 34W T12 Strip | 8TMB-232-FB-ER81 | 55.56% | 37.9% | 30' | T8 | 77F (25C) | No
MicroBay Series | (1) 96" T12HO Strip | MB-154T5-FB-EBT1 | 55.17% | 22.47% | 30' | T5 | 77F (25C) | Yes
MicroBay Series | (2) 34W T12 Strip | MB-154T5-FB-EBT1 | 48.41% | 23.33% | 30' | T5 | 77F (25C) | Yes
MicroBay Series | (1) 96" T12HO Strip | MB-232-FB-EB81 | 61.38% | 37.27% | 30' | T8 | 77F (25C) | No
MicroBay Series | (2) 34W T12 Strip | MB-232-FB-EB81 | 55.56% | 37.96% | 30' | T8 | 77F (25C) | No
MicroBay Series | (1) 96" T12HO Strip | MB-232-FB-ER81 | 61.38% | 37.27% | 30' | T8 | 77F (25C) | Yes
MicroBay Series | (2) 34W T12 Strip | MB-232-FB-ER81 | 55.56% | 37.96% | 30' | T8 | 77F (25C) | Yes
MicroBay Series | 400W MH | (3) 8TMB-132-FB-EB81 | 4% | 14% | 30' | T8 | 77F (25C) | No
MicroBay Series | 400W HPS | (3) 8TMB-132-FB-EB81 | 6% | -7% | 30' | T8 | 77F (25C) | No
MicroBay Series | 400W MH | (3) 8TMB-132-FB-ER81 | 4% | 14% | 30' | T8 | 77F (25C) | Yes
MicroBay Series | 400W HPS | (3) 8TMB-132-FB-ER81 | 6% | -7% | 30' | T8 | 77F (25C) | Yes
MicroBay Series | 400W MH | (2) 8TMB-154T5-FB-EBT2 | -3% | 20% | 30' | T5 | 77F (25C) | Yes
MicroBay Series | 400W HPS | (2) 8TMB-154T5-FB-EBT2 | 1% | 1% | 30' | T5 | 77F (25C) | Yes
HB Series | 400W HPS | HB-454-CL-UNV-EBT2-NUA | 51% | -10% | 20' | T5 | 50F (10C) | Yes
HB Series | 400W MH | HB-454-CL-UNV-EBT2-NUA | 50% | 12% | 20' | T5 | 50F (10C) | Yes
HB Series | 250W HPS | HB-432-CL-EB81/PLUS-NUA | 48% | 5% | 20' | T8 | 50F (10C) | No
HB Series | 250W MH | HB-432-CL-EB81/PLUS-NUA | 47% | 26% | 20' | T8 | 50F (10C) | No
2HB Series | 400W HPS | 2HB-654-CL-UNV-EBT2-NUA | 29% | 26% | 30' | T5 | 50F (10C) | Yes
2HB Series | 400W MH | 2HB-654-CL-UNV-EBT2-NUA | 27% | 41% | 30' | T5 | 50F (10C) | Yes
2HB Series | 400W HPS | 2HB-632-CL-EB82/PLUS-NUA | 51% | 2% | 30' | T8 | 50F (10C) | No
2HB Series | 400W MH | 2HB-632-CL-EB82/PLUS-NUA | 50% | 21% | 30' | T8 | 50F (10C) | No
HB Series | 400W HPS | HB-454-CL-UNV-EBT2-NUA | 49% | -6% | 20' | T5 | 32F (0C) | Yes
HB Series | 400W MH | HB-454-CL-UNV-EBT2-NUA | 48% | 15% | 20' | T5 | 32F (0C) | Yes
HB Series | 250W HPS | HB-432-CL-EB81/PLUS-NUA | 47% | -2% | 20' | T8 | 32F (0C) | No
HB Series | 250W MH | HB-432-CL-EB81/PLUS-NUA | 46% | 21% | 20' | T8 | 32F (0C) | No
2HB Series | 400W HPS | 2HB-654-CL-UNV-EBT2-NUA | 25% | 37% | 30' | T5 | 32F (0C) | Yes
2HB Series | 400W MH | 2HB-654-CL-UNV-EBT2-NUA | 23% | 49% | 30' | T5 | 32F (0C) | Yes
2HB Series | 400W HPS | 2HB-632-CL-EB82/PLUS-NUA | 54% | -22% | 30' | T8 | 32F (0C) | No
2HB Series | 400W MH | 2HB-632-CL-EB82/PLUS-NUA | 53% | 2% | 30' | T8 | 32F (0C) | No
VT3 Series | 175W MH | VT3-254T5-UNV-EBT2-M4 | 45% | 25% | - | T5 | 77F (25C) | Yes
VT3 Series | 150W HPS | VT3-254T5-UNV-EBT2-M4 | 38% | 35% | - | T5 | 77F (25C) | Yes
VT3 Series | 175W MH | VT3-232-EB8/PLUS-M4 | 66% | 7% | - | T8 | 77F (25C) | No
VT3 Series | 150W HPS | VT3-232-EB8/PLUS-M4 | 61% | 20% | - | T8 | 77F (25C) | No
VT3 Series | 175W MH | VT3-332-EB8/PLUS-M4 | 49% | 38% | - | T8 | 77F (25C) | No
VT3 Series | 150W HPS | VT3-332-EB8/PLUS-M4 | 43% | 47% | - | T8 | 77F (25C) | No
VT3 Series | 175W MH | VT3-254T5-UNV-EBT2-M4 | 59% | 29% | - | T5 | 32F (0C) | Yes
VT3 Series | 150W HPS | VT3-254T5-UNV-EBT2-M4 | 53% | 39% | - | T5 | 32F (0C) | Yes
VT3 Series | 175W MH | VT3-232-EB8/PLUS-M4 | 76% | 16% | - | T8 | 32F (0C) | No
VT3 Series | 150W HPS | VT3-232-EB8/PLUS-M4 | 72% | 28% | - | T8 | 32F (0C) | No
VT3 Series | 175W MH | VT3-332-EB8/PLUS-M4 | 63% | 37% | - | T8 | 32F (0C) | No
VT3 Series | 150W HPS | VT3-332-EB8/PLUS-M4 | 58% | 46% | - | T8 | 32F (0C) | No
VT3 Series | 175W MH | VT3-254T5-UNV-EBT2-M4 | 63% | 28% | - | T5 | 0F (-18C) | Yes
VT3 Series | 150W HPS | VT3-254T5-UNV-EBT2-M4 | 58% | 16% | - | T5 | 0F (-18C) | Yes
VT3 Series | 175W MH | VT3-254T5-UNV-EBT2-M4 | 55% | 13% | - | T5 | -15F (-26C) | No
VT3 Series | 150W HPS | VT3-254T5-UNV-EBT2-M4 | 49% | 25% | - | T5 | -15F (-26C) | No
VT3 Series | 175W MH | VT3-354T5-UNV-EBT2-M4 | 34% | 43% | - | T5 | -15F (-26C) | Yes
VT3 Series | 150W HPS | VT3-354T5-UNV-EBT2-M4 | 26% | 51% | - | T5 | -15F (-26C) | Yes
VT3 Series | 175W MH | VT3-254T5-UNV-EBT2-M4 | 54% | 32% |  | T5 | 50F (10C) | Yes
VT3 Series | 150W HPS | VT3-254T5-UNV-EBT2-M4 | 48% | 41% |  | T5 | 50F (10C) | Yes
VT3 Series | 175W MH | VT3-232-EB8/PLUS-M4 | 69% | 18% |  | T8 | 50F (10C) | Yes
VT3 Series | 150W HPS | VT3-232-EB8/PLUS-M4 | 65% | 29% |  | T8 | 50F (10C) | Yes
VT3 Series | 175W MH | VT3-332-EB8/PLUS-M4 | 53% | 37% |  | T8 | 50F (10C) | Yes
VT3 Series | 150W HPS | VT3-332-EB8/PLUS-M4 | 46% | 46% |  | T8 | 50F (10C) | Yes

## Payback Analysis
Insert Logo Here
Cold & Refrigerated Environment System Comparison
Input
Output
Customer Information | [6 empty] | Facility Information
Project Name: | [6 empty] | Ambient Temperature | Please Select
[7 empty] | Square Footage | 0
Contact: | [6 empty] | Annual Operating Hours | 0
[7 empty] | Cost per kWh | 0
Lighting System Details | [5 empty] | Existing System |  | F-Bay System
|  |  | Select Luminaire |  |  | Please Select |  | Please Select
[6 empty] | 0 |  | 0
|  |  | Quantity |  |  | 0 |  | 0
Lighting Controls |  |  | Quantity w/Lighting Controls |  |  | 0 |  | 0
|  |  | % Annual Operating Hours Controlled |  |  | Please Select |  | Please Select
|  |  | % Light Output Controlled |  |  | Please Select |  | Please Select
Energy Analysis
|  |  | Luminaire Input Watts |  |  | #N/A |  | 0
|  |  | Controlled Luminaire Initial Lumens |  |  | #N/A |  | #VALUE!
|  |  | Controlled Luminaire Design Lumens |  |  | #VALUE! |  | #VALUE!
|  |  | System Input Watts |  |  | #N/A |  | #VALUE!
|  |  | System KW |  |  | #N/A |  | #VALUE!
|  |  | Annual kWh |  |  | #N/A |  | #VALUE!
|  |  | Annual Energy Costs |  |  | #N/A |  | #VALUE!
|  |  | Annual Energy Savings ($) |  |  |  |  | #N/A
|  |  | Energy Savings (%) |  |  |  |  | #N/A
| Burned in Hours/Hours Since Last Relamp |  |  |  |  | 1000
|  |  | Lamp Life |  |  | 0 |  | 0
|  |  | % Depreciation |  |  | #DIV/0! |  | 40%
|  |  | Depreciation Factor |  |  | #DIV/0! |  | #N/A
|  |  | S/P Ratio |  |  | #N/A |  | 0
|  |  | Initial Lumens |  |  | #N/A |  | 0
|  |  | Luminaire Initial Lumens |  |  | #N/A |  | 0
|  |  | S/P Adjusted Lumens (Initial) |  |  | #N/A |  | 0
|  |  | S/P Adjusted Lumens (Maintained) |  |  | #N/A |  | #N/A
|  |  | Change in Light Output (Initial) |  |  |  |  | #N/A
|  |  | Change in Light Output (Maintained) |  |  |  |  | #N/A
|  |  | Coefficient of Utilization |  |  | #N/A |  | 0
|  |  | Light Loss Factor |  |  | 1 |  | 1
|  |  | Average Footcandles (Maintained)) |  |  | #N/A |  | #N/A
|  |  | Light Gain/Loss at Full Light Output (%) |  |  |  |  | #N/A
|  |  | Lighting Power Density (LPD) |  |  | #N/A |  | #VALUE!
System Costs
|  |  | Per Luminaire Cost |  |  |  |  | 0
|  |  | Total System Cost |  |  |  |  | 0
|  |  | Labor/Materials/Disposal (Lot Price) |  |  |  |  | 0
|  |  | Per Luminaire Rebate/Incentive |  |  |  |  | 0
|  |  | Total System Rebate/Incentive |  |  |  |  | 0
|  |  | Total Contract Price |  |  |  |  | 0
Payback Analysis
|  |  | Simple Payback |  |  |  |  | #N/A
|  |  | IRR (%) |  |  |  |  | #N/A
Light level calculations are based on scotopic/photopic adjusted lumen values. This is only an estimate. Cooper Lighting's online zonal cavity calulators and lighting layout software and services should be used for a final evaluation.
Click here for more information on Cooper Lighting's full offering of industrial energy efficient fluorescent luminaires.
Return to TOP
Return to HOME |  |  | Annual Energy Costs |  |  |  |  | Average Footcandles (Maintained)) |  |  | Please Select
| Please Select |  | #N/A |  |  |  | Please Select | #N/A |  |  | -15F (-26C)
| Please Select |  | #VALUE! |  |  |  | Please Select | #N/A |  |  | 0F (-18C)
|  | Initial lmns | Design lmns | S/P Adjusted Initial lmns | S/P Adjusted Maintained lmns | [5 empty] | 32F (0C)
| Please Select | #N/A | #REF! | #N/A | #N/A | [5 empty] | 50F (10C)
| Please Select | 0 | #REF! | 0 | #N/A | [5 empty] | 77F (25C)
[13 empty] | -15F (-26C) | NFIFTEENF1
[13 empty] | 0F (-18C) | ZEROF1
System | Please Select |  | Please Select | [9 empty] | 32F (0C) | THIRTYTWOF1
Input Watts | 0 |  | #N/A | [9 empty] | 50F (10C) | FIFTYF1
Footcandles | #N/A |  | #N/A | [9 empty] | 77F (25C) | SEVENTYSEVENF1
Please Select | Input Watts | Initial Lumens | Design Lumens | bf | LLF | CU | S/P | Adj S/P | Lamp Life |  |  | Temp | RLO | Lamp Description | Ballast Description
150W High Pressure Sodium High Bay | 188 | 16000 | 14400 |  | 0.68 | 0.85 | 0.62 | 0.7874 | 24000 | High Pressure Sodium |  |  |  | HID, HPS | CWA
250W High Pressure Sodium High Bay | 300 | 30000 | 19800 |  | 0.68 | 0.85 | 0.62 | 0.7874 | 24000 | High Pressure Sodium |  |  |  | HID, HPS | CWA
400W High Pressure Sodium High Bay | 464 | 51000 | 29288 |  | 0.68 | 0.85 | 0.62 | 0.7874 | 24000 | High Pressure Sodium |  |  |  | HID, HPS | CWA
1000W High Pressure Sodium High Bay | 1100 | 130000 | 126000 |  | 0.68 | 0.85 | 0.62 | 0.7874 | 24000 | High Pressure Sodium |  |  |  | HID, HPS | CWA
175W Metal Halide High Bay | 213 | 13600 | 8800 |  | 0.68 | 0.85 | 1.5 | 1.2247 | 10000 | Probe Start Metal Halide |  |  |  | HID, 175W MH | CWA
250W Metal Halide High Bay | 295 | 20800 | 13500 |  | 0.68 | 0.85 | 1.5 | 1.2247 | 10000 | Probe Start Metal Halide |  |  |  | HID, 250W MH | CWA
400W Metal Halide High Bay | 455 | 36000 | 16307 |  | 0.68 | 0.85 | 1.5 | 1.2247 | 20000 | Probe Start Metal Halide |  |  |  | HID, 400W MH | CWA
1000W Metal Halide High Bay | 1085 | 102800 | 79000 |  | 0.68 | 0.85 | 1.5 | 1.2247 | 15000 | Probe Start Metal Halide |  |  |  | HID, 1000W MH | CWA
150W PSMH High Bay | 189 | 13300 | 10000 |  | 0.81 | 0.9 | 1.5 | 1.2247 | 15000 | Pulse Start Metal Halide |  |  |  | HID, 150W PSMH | CWA
175W PSMH High Bay | 208 | 17500 | 13000 |  | 0.81 | 0.9 | 1.5 | 1.2247 | 15000 | Pulse Start Metal Halide |  |  |  | HID, 175W PSMH | CWA
250W PSMH High Bay | 291 | 23000 | 17000 |  | 0.81 | 0.9 | 1.5 | 1.2247 | 20000 | Pulse Start Metal Halide |  |  |  | HID, 250W PSMH | CWA
320W PSMH High Bay | 368 | 32000 | 22500 |  | 0.81 | 0.9 | 1.5 | 1.2247 | 20000 | Pulse Start Metal Halide |  |  |  | HID, 320W PSMH | CWA
350W PSMH High Bay | 400 | 36500 | 27000 |  | 0.81 | 0.9 | 1.5 | 1.2247 | 20000 | Pulse Start Metal Halide |  |  |  | HID, 350W PSMH | CWA
450W PSMH High Bay | 404 | 44000 | 35000 |  | 0.81 | 0.9 | 1.5 | 1.2247 | 20000 | Pulse Start Metal Halide |  |  |  | HID, 450W PSMH | CWA
750W PSMH High Bay | 820 | 82000 | 60000 |  | 0.81 | 0.9 | 1.5 | 1.2247 | 16000 | Pulse Start Metal Halide |  |  |  | HID, 750W PSMH | CWA
1000W PSMH High Bay | 1080 | 115000 | 90000 |  | 0.81 | 0.9 | 1.5 | 1.2247 | 12000 | Pulse Start Metal Halide |  |  |  | HID, 1000W PSMH | CWA
(2) 34W T12 Magnetic Industrial | 80 | 5600 | 5200 |  | 0.792 | 0.88 | 1.8 | 1.3416 | 20000 | T12 Fluorescent |  |  |  | Fluorescent, T12 | Energy Efficient Magnetic
(3) 34W T12 Magnetic Industrial | 130 | 8400 | 7800 |  | 0.792 | 0.88 | 1.8 | 1.3416 | 20000 | T12 Fluorescent |  |  |  | Fluorescent, T12 | Energy Efficient Magnetic
(4) 34W T12 Magnetic Industrial | 160 | 11200 | 10400 |  | 0.792 | 0.88 | 1.8 | 1.3416 | 20000 | T12 Fluorescent |  |  |  | Fluorescent, T12 | Energy Efficient Magnetic
(2) 110W T12 HO Magnetic Industrial | 253 | 18400 | 16560 |  | 0.792 | 0.88 | 1.8 | 1.3416 | 12000 | T12 Fluorescent |  |  |  | Fluorescent, T12 HO/SL | Magnetic
(3) 110W T12 HO Magnetic Industrial | 398 | 27600 | 24840 |  | 0.792 | 0.88 | 1.8 | 1.3416 | 12000 | T12 Fluorescent |  |  |  | Fluorescent, T12 HO/SL | Magnetic
(4) 110W T12 HO Magnetic Industrial | 506 | 36800 | 33120 |  | 0.792 | 0.88 | 1.8 | 1.3416 | 12000 | T12 Fluorescent |  |  |  | Fluorescent, T12 HO/SL | Magnetic
150W PSMH ECON | 189 | 13300 | 10000 |  | 0.8883 | 0.9 | 1.5 | 1.2247 | 15000 | Electronic Pulse Start Metal Halide
175W PSMH ECON | 194 | 17500 | 13000 |  | 0.8883 | 0.9 | 1.5 | 1.2247 | 15000 | Electronic Pulse Start Metal Halide
250W PSMH ECON | 269 | 23000 | 18344.34 |  | 0.8883 | 0.9 | 1.5 | 1.2247 | 30000 | Electronic Pulse Start Metal Halide
320W PSMH ECON | 345 | 30000 | 23927.4 |  | 0.8883 | 0.9 | 1.5 | 1.2247 | 30000 | Electronic Pulse Start Metal Halide
350W PSMH ECON | 375 | 34000 | 27117.72 |  | 0.8883 | 0.9 | 1.5 | 1.2247 | 30000 | Electronic Pulse Start Metal Halide
400W PSMH ECON | 426 | 40000 | 32000 |  | 0.8883 | 0.9 | 1.5 | 1.2247 | 30000 | Electronic Pulse Start Metal Halide
Please Select
HB432 F-Bay | 147 | 12400 | 11800 |  | 0.9876 | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 77F (25C) |  | Fluorescent, T8 | Instant Start HBF
HB454 F-Bay | 229 | 20000 | 17800 |  | 0.855 | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 77F (25C) |  | Fluorescent, T5 HO | Programmed Start NBF
2HB632 F-Bay | 221 | 18600 | 17700 |  | 0.9876 | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 77F (25C) |  | Fluorescent, T8 | Instant Start HBF
2HB654 F-Bay | 346 | 30000 | 26700 |  | 0.855 | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 77F (25C) |  | Fluorescent, T5 HO | Programmed Start NBF
I8232 F-Bay | 73 | 6200 | 5900 |  | 0.9876 | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 77F (25C) |  | Fluorescent, T8 | Instant Start HBF
I8332 F-Bay | 109 | 9300 | 8850 |  | 0.9876 | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 77F (25C) |  | Fluorescent, T8 | Instant Start HBF
I8432 F-Bay | 147 | 12400 | 11800 |  | 0.9876 | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 77F (25C) |  | Fluorescent, T8 | Instant Start HBF
I5254 F-Bay | 117 | 10000 | 8900 |  | 0.855 | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 77F (25C) |  | Fluorescent, T5 HO | Programmed Start NBF
I5354 F-Bay | 182 | 15000 | 13350 |  | 0.855 | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 77F (25C) |  | Fluorescent, T5 HO | Programmed Start NBF
I5454 F-Bay | 229 | 20000 | 17800 |  | 0.855 | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 77F (25C) |  | Fluorescent, T5 HO | Programmed Start NBF
8TI5254 F-Bay | 229 | 20000 | 17800 |  | 0.855 | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 77F (25C) |  | Fluorescent, T5 HO | Programmed Start NBF
8TI5354 F-Bay | 346 | 30000 | 26700 |  | 0.855 | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 77F (25C) |  | Fluorescent, T5 HO | Programmed Start NBF
8TI5454 F-Bay | 458 | 40000 | 35600 |  | 0.855 | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 77F (25C) |  | Fluorescent, T5 HO | Programmed Start NBF
3HBO832 F-Bay | 302 | 24800 | 23600 |  | 0.9876 | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 77F (25C) |  | Fluorescent, T8 | Instant Start HBF
3HBO854 F-Bay | 458 | 40000 | 35600 |  | 0.855 | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 77F (25C) |  | Fluorescent, T5 HO | Programmed Start NBF
MB132 Micro Bay | 46 | 3100 | 2950 |  | 0.9876 | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 77F (25C) |  | Fluorescent, T8 | Instant Start HBF
MB232 Micro Bay | 73 | 6200 | 5900 |  | 0.9876 | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 77F (25C) |  | Fluorescent, T8 | Instant Start HBF
MB154 Micro Bay | 62 | 5000 | 4450 |  | 0.855 | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 77F (25C) |  | Fluorescent, T5 HO | Programmed Start NBF
MB254 Micro Bay | 117 | 10000 | 8900 |  | 0.855 | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 77F (25C) |  | Fluorescent, T5 HO | Programmed Start NBF
8TMB132 Micro Bay | 73 | 6200 | 5900 |  | 0.9876 | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 77F (25C) |  | Fluorescent, T8 | Instant Start HBF
8TMB232 Micro Bay | 147 | 12400 | 11800 |  | 0.9876 | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 77F (25C) |  | Fluorescent, T8 | Instant Start HBF
8TMB154 Micro Bay | 117 | 10000 | 8900 |  | 0.855 | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 77F (25C) |  | Fluorescent, T5 HO | Programmed Start NBF
8TMB254 Micro Bay | 229 | 20000 | 17800 |  | 0.855 | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 77F (25C) |  | Fluorescent, T5 HO | Programmed Start NBF
Please Select
AB-454T5-CL-EBT1 | 210 | 20000 | 17800 |  |  | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | -15F (-26C) | 0.86 | Fluorescent, T5 HO | Programmed Start NBF
2AB-654T5-CL-EBT2 | 266.0177 | 30000 | 26700 |  |  | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | -15F (-26C) | 0.87 | Fluorescent, T5 HO | Programmed Start NBF
VT3-254T5-EBT2-M4 | 95 | 10000 | 8900 |  |  | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | -15F (-26C) | 0.73 | Fluorescent, T5 HO | Programmed Start NBF
VT3-354T5-EBT2-M4 | 140 | 15000 | 13350 |  |  | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | -15F (-26C) | 0.91 | Fluorescent, T5 HO | Programmed Start NBF
Please Select
AB-454T5-CL-EBT1 | 209 | 20000 | 17800 |  |  | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 0F (-18C) | 0.95 | Fluorescent, T5 HO | Programmed Start NBF
2AB-654T5-CL-EBT2 | 277 | 30000 | 26700 |  |  | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 0F (-18C) | 1.04 | Fluorescent, T5 HO | Programmed Start NBF
VT3-254T5-EBT2-M4 | 79 | 10000 | 8900 |  |  | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 0F (-18C) | 0.76 | Fluorescent, T5 HO | Programmed Start NBF
Please Select
HB-432-CL-EB81/PLUS-NUA | 159 | 12400 | 11800 |  | 0.9876 | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 32F (0C) | 1.11 | Fluorescent, T8 | Instant Start HBF
HB-454T5-CL-EBT1-NUA | 238 | 20000 | 17800 |  |  | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 32F (0C) | 1.275 | Fluorescent, T5 HO | Programmed Start NBF
2HB-632-CL-EB82/PLUS-NUA | 213.0599 | 18600 | 17700 |  |  | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 32F (0C) | 0.82 | Fluorescent, T8 | Instant Start HBF
2HB-654T5-CL-EBT2-NUA | 350 | 30000 | 26700 |  |  | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 32F (0C) | 1.35 | Fluorescent, T5 HO | Programmed Start NBF
VT3-232-EB81/PLUS-M4 | 66.7069 | 6200 | 5900 |  |  | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 32F (0C) | 0.97 | Fluorescent, T8 | Instant Start HBF
VT3-254T5-EBT2-M4 | 88 | 10000 | 8900 |  |  | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 32F (0C) | 0.9 | Fluorescent, T5 HO | Programmed Start NBF
VT3-332-EB81/PLUS-M4 | 100.0603 | 9300 | 8850 |  |  | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 32F (0C) | 0.98 | Fluorescent, T8 | Instant Start HBF
Please Select
HB-432-CL-EB81/PLUS-NUA | 156 | 12400 | 11800 |  | 0.9876 | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 50F (10C) | 1.19 | Fluorescent, T8 | Instant Start HBF
HB-454T5-CL-EBT1-NUA | 226 | 20000 | 17800 |  |  | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 50F (10C) | 1.24 | Fluorescent, T5 HO | Programmed Start NBF
2HB-632-CL-EB82/PLUS-NUA | 226.2934 | 18600 | 17700 |  |  | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 50F (10C) | 1.02 | Fluorescent, T8 | Instant Start HBF
2HB-654T5-CL-EBT2-NUA | 330 | 30000 | 26700 |  |  | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 50F (10C) | 1.16 | Fluorescent, T5 HO | Programmed Start NBF
VT3-232-EB81/PLUS-M4 | 65.4483 | 6200 | 5900 |  |  | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 50F (10C) | 0.99 | Fluorescent, T8 | Instant Start HBF
VT3-254T5-EBT2-M4 | 97 | 10000 | 8900 |  |  | 1.01 | 1.9 | 1.3784 | 30000 | T5HO Fluorescent |  | 50F (10C) | 0.94 | Fluorescent, T5 HO | Programmed Start NBF
VT3-332-EB81/PLUS-M4 | 100.6897 | 9300 | 8850 |  |  | 1.01 | 1.95 | 1.3964 | 20000 | T8 Fluorescent |  | 50F (10C) | 0.98 | Fluorescent, T8 | Instant Start HBF
Please Select |  | Please Select
0% |  | 100%
10% |  | 90% | [6 empty] | v
20% |  | 80%
30% |  | 70%
40% |  | 60%
50% |  | 50%
60% |  | 40%
70% |  | 30%
80% |  | 20%
90% |  | 10%
100% |  | 0%
|  |  | System | Percent Output | Combo | Depreciation Factor
|  |  | T8 Fluorescent | 0% | T8 Fluorescent-0 | 100 | 100%
|  |  | T8 Fluorescent | 10% | T8 Fluorescent-0.1 | 98 | 98%
|  |  | T8 Fluorescent | 20% | T8 Fluorescent-0.2 | 96 | 96%
|  |  | T8 Fluorescent | 30% | T8 Fluorescent-0.3 | 95.5 | 95.5%
|  |  | T8 Fluorescent | 40% | T8 Fluorescent-0.4 | 95 | 95%
|  |  | T8 Fluorescent | 50% | T8 Fluorescent-0.5 | 94.5 | 94.5%
|  |  | T8 Fluorescent | 60% | T8 Fluorescent-0.6 | 94 | 94%
|  |  | T8 Fluorescent | 70% | T8 Fluorescent-0.7 | 93.5 | 93.5%
|  |  | T8 Fluorescent | 80% | T8 Fluorescent-0.8 | 93 | 93%
|  |  | T8 Fluorescent | 90% | T8 Fluorescent-0.9 | 92.5 | 92.5%
|  |  | T8 Fluorescent | 100% | T8 Fluorescent-1 | 92 | 92%
|  |  | T5HO Fluorescent | 0% | T5HO Fluorescent-0 | 100 | 100%
|  |  | T5HO Fluorescent | 10% | T5HO Fluorescent-0.1 | 98 | 98%
|  |  | T5HO Fluorescent | 20% | T5HO Fluorescent-0.2 | 96 | 96%
|  |  | T5HO Fluorescent | 30% | T5HO Fluorescent-0.3 | 95 | 95%
|  |  | T5HO Fluorescent | 40% | T5HO Fluorescent-0.4 | 94 | 94%
|  |  | T5HO Fluorescent | 50% | T5HO Fluorescent-0.5 | 93 | 93%
|  |  | T5HO Fluorescent | 60% | T5HO Fluorescent-0.6 | 92 | 92%
|  |  | T5HO Fluorescent | 70% | T5HO Fluorescent-0.7 | 91.5 | 91.5%
|  |  | T5HO Fluorescent | 80% | T5HO Fluorescent-0.8 | 91 | 91%
|  |  | T5HO Fluorescent | 90% | T5HO Fluorescent-0.9 | 90.5 | 90.5%
|  |  | T5HO Fluorescent | 100% | T5HO Fluorescent-1 | 90 | 90%
|  |  | T12 Fluorescent | 0% | T12 Fluorescent-0 | 100 | 100%
|  |  | T12 Fluorescent | 10% | T12 Fluorescent-0.1 | 95 | 95%
|  |  | T12 Fluorescent | 20% | T12 Fluorescent-0.2 | 91 | 91%
|  |  | T12 Fluorescent | 30% | T12 Fluorescent-0.3 | 87 | 87%
|  |  | T12 Fluorescent | 40% | T12 Fluorescent-0.4 | 85 | 85%
|  |  | T12 Fluorescent | 50% | T12 Fluorescent-0.5 | 81 | 81%
|  |  | T12 Fluorescent | 60% | T12 Fluorescent-0.6 | 79 | 79%
|  |  | T12 Fluorescent | 70% | T12 Fluorescent-0.7 | 77.5 | 77.5%
|  |  | T12 Fluorescent | 80% | T12 Fluorescent-0.8 | 76 | 76%
|  |  | T8 Fluorescent | 90% | T8 Fluorescent-0.9 | 75 | 75%
|  |  | T5HO Fluorescent | 100% | T5HO Fluorescent-1 | 74 | 74%
|  |  | T5HO Fluorescent | 0% | T5HO Fluorescent-0 | 100 | 100%
|  |  | High Pressure Sodium | 10% | High Pressure Sodium-0.1 | 97 | 97%
|  |  | High Pressure Sodium | 20% | High Pressure Sodium-0.2 | 95 | 95%
|  |  | High Pressure Sodium | 30% | High Pressure Sodium-0.3 | 93 | 93%
|  |  | High Pressure Sodium | 40% | High Pressure Sodium-0.4 | 91 | 91%
|  |  | High Pressure Sodium | 50% | High Pressure Sodium-0.5 | 87 | 87%
|  |  | High Pressure Sodium | 60% | High Pressure Sodium-0.6 | 85 | 85%
|  |  | High Pressure Sodium | 70% | High Pressure Sodium-0.7 | 81 | 81%
|  |  | High Pressure Sodium | 80% | High Pressure Sodium-0.8 | 77 | 77%
|  |  | High Pressure Sodium | 90% | High Pressure Sodium-0.9 | 74 | 74%
|  |  | High Pressure Sodium | 100% | High Pressure Sodium-1 | 70 | 70%
|  |  | Probe Start Metal Halide | 0% | Probe Start Metal Halide-0 | 100 | 100%
|  |  | Probe Start Metal Halide | 10% | Probe Start Metal Halide-0.1 | 89 | 89%
|  |  | Probe Start Metal Halide | 20% | Probe Start Metal Halide-0.2 | 79 | 79%
|  |  | Probe Start Metal Halide | 30% | Probe Start Metal Halide-0.3 | 72 | 72%
|  |  | Probe Start Metal Halide | 40% | Probe Start Metal Halide-0.4 | 64 | 64%
|  |  | Probe Start Metal Halide | 50% | Probe Start Metal Halide-0.5 | 58 | 58%
|  |  | Probe Start Metal Halide | 60% | Probe Start Metal Halide-0.6 | 54 | 54%
|  |  | Probe Start Metal Halide | 70% | Probe Start Metal Halide-0.7 | 51 | 51%
|  |  | Probe Start Metal Halide | 80% | Probe Start Metal Halide-0.8 | 48 | 48%
|  |  | Probe Start Metal Halide | 90% | Probe Start Metal Halide-0.9 | 44 | 44%
|  |  | Probe Start Metal Halide | 100% | Probe Start Metal Halide-1 | 41 | 41%
|  |  | Pulse Start Metal Halide | 0% | Pulse Start Metal Halide-0 | 100 | 100%
|  |  | Pulse Start Metal Halide | 10% | Pulse Start Metal Halide-0.1 | 93 | 93%
|  |  | Pulse Start Metal Halide | 20% | Pulse Start Metal Halide-0.2 | 86 | 86%
|  |  | Pulse Start Metal Halide | 30% | Pulse Start Metal Halide-0.3 | 79 | 79%
|  |  | Pulse Start Metal Halide | 40% | Pulse Start Metal Halide-0.4 | 75 | 75%
|  |  | Pulse Start Metal Halide | 50% | Pulse Start Metal Halide-0.5 | 71 | 71%
|  |  | Pulse Start Metal Halide | 60% | Pulse Start Metal Halide-0.6 | 69 | 69%
|  |  | Pulse Start Metal Halide | 70% | Pulse Start Metal Halide-0.7 | 65 | 65%
|  |  | Pulse Start Metal Halide | 80% | Pulse Start Metal Halide-0.8 | 63 | 63%
|  |  | Pulse Start Metal Halide | 90% | Pulse Start Metal Halide-0.9 | 60 | 60%
|  |  | Pulse Start Metal Halide | 100% | Pulse Start Metal Halide-1 | 58 | 58%
|  |  | Electronic Pulse Start Metal Halide | 0% | Electronic Pulse Start Metal Halide-0 | 100 | 100%
|  |  | Electronic Pulse Start Metal Halide | 10% | Electronic Pulse Start Metal Halide-0.1 | 94 | 94%
|  |  | Electronic Pulse Start Metal Halide | 20% | Electronic Pulse Start Metal Halide-0.2 | 90 | 90%
|  |  | Electronic Pulse Start Metal Halide | 30% | Electronic Pulse Start Metal Halide-0.3 | 88 | 88%
|  |  | Electronic Pulse Start Metal Halide | 40% | Electronic Pulse Start Metal Halide-0.4 | 86 | 86%
|  |  | Electronic Pulse Start Metal Halide | 50% | Electronic Pulse Start Metal Halide-0.5 | 85 | 85%
|  |  | Electronic Pulse Start Metal Halide | 60% | Electronic Pulse Start Metal Halide-0.6 | 84 | 84%
|  |  | Electronic Pulse Start Metal Halide | 70% | Electronic Pulse Start Metal Halide-0.7 | 83 | 83%
|  |  | Electronic Pulse Start Metal Halide | 80% | Electronic Pulse Start Metal Halide-0.8 | 82 | 82%
|  |  | Electronic Pulse Start Metal Halide | 90% | Electronic Pulse Start Metal Halide-0.9 | 81 | 81%
|  |  | Electronic Pulse Start Metal Halide | 100% | Electronic Pulse Start Metal Halide-1 | 80 | 80%
Note on C37: This number is factored against the individual lamp source life and lumen depreciation curve. It is not an indication of selected sources true lamp life.
Note on E19: If there are controls on the system enter the quantity of luminaires equipped with the controls. If there are no controls, field should have a zero.
Note on E20: Enter the percent of time (operating hours) the luminaires are controlled. For example, if the luminaires are equipped with an occupancy sensor it might only be triggered 50%. If it is a high traffic area then the percentage would be higher and vice versa.
Note on E21: Enter the percent of light output of the luminaires when they are controlled. For example, if the luminaires are equipped with an occupancy sensor this is the percentage of the light output when the luminaires are not illuminated.
Note on E49: Maintained Illuminance is factored with Scotopic/Photopic adjusted lumen values. The Proposed System is based on 40% of rated life. Based on full light output.

## LPD EZ-EPAct
Insert Logo Here
Cold & Refrigerated Environment: EZ - EPACT a.k.a. Watts Per Square Foot
Input
Output
Customer Information |  |  | Facility Information
Project Name:
|  | Ambient Temperature |  | Please Select
Contact: |  | Area Square Footage |  | 0
Lighting System Details |  | System 1 |  | System 2
| Number of Luminaires | 0 |  | 0
| System Watts | #N/A |  | 0
| Total System Load (kW) | #N/A |  | 0
| Watts Per Sq. Ft. | #N/A |  | #DIV/0!
| Percentage Reduction |  |  | #N/A
Compared to ASHRAE 90.1-2001 (The standard for EPAct)
| Cold & Refrigerated Application | Please Select
| Building Area Method (w/sq ft) | 0
| Watts/sq ft versus EPAct | 0% |  | 0%
| Potential Per Square Foot Savings |  |  | Does Not Qualify
| Total Potential EPAct (Pre-Tax) Deduction Benefit |  |  | Does Not Qualify
| Federal Tax Rate | 35%
| Per Luminaire Cost |  |  | 0
| Lot Labor, Recycle, Disposal Costs |  |  | 0
| Total Installed Cost |  |  | 0
| After Tax EPAct Deduction Benefit |  |  | 0
This spreadsheet is meant to provide a generic estimation of the interim tax provisions of the Energy Policy Act of 2005. Please contact your tax advisor to determine the specific tax treatement appropriate for your company.
Return to TOP
Return to HOME
| ASHRAE 90.1 Building Area Method Lighting Power Densities |  |  | 0.3 | 0.32 | 0.34 | 0.36 | 0.38 | 0.4 | 0.42 | 0.44 | 0.46 | 0.48 | 0.5 | 0.52 | 0.54 | 0.56 | 0.58 | 0.6
| Please Select | 2001 |  | 25% | 26% | 27% | 28% | 29% | 30% | 31% | 32% | 33% | 34% | 35% | 36% | 37% | 38% | 39% | 40%
| Manufacturing Facility | 2.2 |  | 1.65 | 1.628 | 1.606 | 1.584 | 1.562 | 1.54 | 1.518 | 1.496 | 1.474 | 1.452 | 1.43 | 1.408 | 1.386 | 1.364 | 1.342 | 0.88
| Office | 1.3 |  | 0.975 | 0.962 | 0.949 | 0.936 | 0.923 | 0.91 | 0.897 | 0.884 | 0.871 | 0.858 | 0.845 | 0.832 | 0.819 | 0.806 | 0.793 | 0.52
| Parking Garage | 0.3 |  | 0.225 | 0.222 | 0.219 | 0.216 | 0.213 | 0.21 | 0.207 | 0.204 | 0.201 | 0.198 | 0.195 | 0.192 | 0.189 | 0.186 | 0.183 | 0.12
| Sports Arena | 1.5 |  | 1.125 | 1.11 | 1.095 | 1.08 | 1.065 | 1.05 | 1.035 | 1.02 | 1.005 | 0.99 | 0.975 | 0.96 | 0.945 | 0.93 | 0.915 | 0.6
| Warehouse | 1.2 |  | 25%: 0.6
25% | 0.3
26% | 0.32
27% | 0.34
28% | 0.36
29% | 0.38
30% | 0.4
31% | 0.42
32% | 0.44
33% | 0.46
34% | 0.48
35% | 0.5
36% | 0.52
37% | 0.54
38% | 0.56
39% | 0.58
40% | 0.6
41% | 0.6
42% | 0.6
43% | 0.6
44% | 0.6
45% | 0.6
46% | 0.6
47% | 0.6
48% | 0.6
49% | 0.6
50% | 0.6
51% | 0.6
52% | 0.6
53% | 0.6
54% | 0.6
55% | 0.6
56% | 0.6
57% | 0.6
58% | 0.6
59% | 0.6
60% | 0.6
61% | 0.6
62% | 0.6
63% | 0.6
64% | 0.6
65% | 0.6
66% | 0.6
67% | 0.6
68% | 0.6
69% | 0.6
70% | 0.6
71% | 0.6
72% | 0.6
73% | 0.6
74% | 0.6
75% | 0.6
76% | 0.6
77% | 0.6
78% | 0.6
79% | 0.6
80% | 0.6
81% | 0.6
82% | 0.6
83% | 0.6
84% | 0.6
85% | 0.6
86% | 0.6
87% | 0.6
88% | 0.6
89% | 0.6
90% | 0.6
91% | 0.6
92% | 0.6
93% | 0.6
94% | 0.6
95% | 0.6
96% | 0.6
97% | 0.6
98% | 0.6
99% | 0.6
Note on C36: EPAct allows for the accelerated deduction of the lesser of the cost of the project or the value of the savings based on the Interims sliding scale rule. This value is then multiplied by the federal tax rate to determine the actual value of the accelerated deduction. For more information on EPAct please see the recommended links in the Website Links tab.

## EPAct Certification
TAX DEDUCTION FOR ENERGY EFFICIENT COMMERCIAL BUILDINGS
ENERGY POLICY ACT OF 2005, ENACTED SECTION 179D
CERTIFICATE OF COMPLIANCE
| Certified By: |  |  |  |  | Date:
Name:
Company:
Street Address:
|  | City: |  |  |  | State:
|  | Zip Code: |  | Telephone:
Building Certified:
Street Address:
|  | City: |  |  |  | State:
Zip Code:
|  | Energy efficient system installed and placed in service during: |  |  | CY2006 | CY2007 | CY2008
Certification Statement (per Notice 2006-52): (Check One)
Statement for energy efficient commercial building property:
“The interior lighting systems, heating, cooling, ventilation and hot water systems, and building envelope that have been, or are planned to be, incorporated into the building will reduce the total annual energy and power costs with respect to combined usage of the building’s heating, cooling, ventilation, hot water, and interior lighting systems by 50 percent or more as compared to a Reference Building that meets the minimum requirements of Standard 90.1-2001.”
Statement for energy efficient lighting property that satisfies the requirements of the permanent rule of section 2.03(1)(a) of this notice:
“The interior lighting systems that have been, or are planned to be, incorporated into the building will reduce the total annual energy and power costs with respect to combined usage of the building’s heating, cooling, ventilation, hot water, and interior lighting systems by 16 2/3 percent or more as compared to a Reference Building that meets the minimum requirements of Standard 90.1-2001.”
Statement for energy efficient lighting property that satisfied the requirements of the interim rule of section 2.03(1)(b) of this notice:
“The interior lighting systems that have been, or are planned to be, incorporated into the building satisfy the requirements of the interim rule of section 2.03(1)(b) of this notice. The interior lighting systems that have been, or are planned to be, incorporated into the building satisfy the requirements of the interim rule of section 2.03(1)(b) of Notice 2006-52.”
I hereby certify the following:
| 1.) | Field inspections of the building, performed by a qualified individual after the property has been placed in service, have confirmed that the building has met, or will meet, the energy-saving targets contained in the design plans and specifications, and that the field inspections were performed in accordance with any inspection and testing procedures that (1) have been prescribed by the National Renewable Energy Laboratory (NREL) as Energy Savings Modeling and Inspection Guidelines for Commercial Building Federal Tax Deductions and (2) are in effect at the time the certification is given.
| 2.) | The building owner has received an explanation of the energy efficiency features of the building and its projected annual energy costs.
| 3.) | Qualified computer software was used to calculate energy and power consumption and costs and identification of the qualified computer software used. (Permanent Rule only)
| 4.) | The attached list identifies the components of the interior lighting systems, heating, cooling, ventilation, and hot water systems, and building envelope installed on or in the building, the energy efficiency features of the building, and its projected annual energy costs.
“Under penalties of perjury, I declare that I have examined this certification, including accompanying documents, including accompanying documents, and to the best of my knowledge and belief, the facts presented in support of this certification are true, correct, and complete.”
Printed Name of Certifier:
|  |  | Signature: |  |  | Date:
|  |  | Check One: | Professional Engineer |  | Licensed Contractor
|  |  |  | PE ID Number |  | License Number:
TAX DEDUCTION FOR ENERGY EFFICIENT COMMERCIAL BUILDINGS
ENERGY POLICY ACT OF 2005, ENACTED SECTION 179D
ATTACHMENT WHEN USING INTERIM LIGHTING RULES
| Certified By: |  |  |  |  | Date:
Name:
Company:
Street Address:
|  | City: |  |  |  | State:
|  | Zip Code: |  | Telephone:
Building Certified:
Street Address:
|  | City: |  |  |  | State:
Zip Code:
|  | Energy efficient system installed and placed in service during: |  |  | CY2006 | CY2007 | CY2008
Statement of Computer Software
The interim lighting rules require a calculation of lighting power density (total connected lighting watts divided by building area), but does not require the calculation of energy and power consumption and costs for the entire building.
Statement of Energy Reduction
|  | Building or Space by Space | Building Area Description | ASHRAE 90.1 2001 LPD (w/sq ft) | Resulting LPD (w/sq ft) | % Below ASHRAE 90.1 | Square Footage
Statement on Components List
[6 empty] | Captialized equipment cost incurred for the energy efficient property | $
[6 empty] | Captialized labor cost incurred for the energy efficient property | $
List components of energy efficient system installed in or on the building:
Statement of Projected Annual Energy Costs:
Statement of Energy Efficient Features
Return to TOP
Return to HOME

## Environmental Impact
Insert Logo Here
Cold & Refrigerated Environment: Environmental Impact
Input
Output
Customer Information |  |  |  |  | Facility Information
Project Name:
|  |  |  | Ambient Temperature |  | Please Select
Contact: |  |  |  | Annual Operating Hours |  | 0
|  |  |  | Cost Per kWh |  | 0
Lighting System Details |  |  |  | Existing |  | Proposed
|  |  | Number of Luminaires | 0 |  | 0
|  |  | Input Watts Per Luminaire | #N/A |  | 0
|  |  | Controlled System | No |  | No
|  |  | System Input Watts | #N/A |  | #VALUE!
|  |  | System KW | #N/A |  | #VALUE!
|  |  | Annual kWh | #N/A |  | #VALUE!
|  |  | kW Saved |  |  | #N/A
|  |  | kWh Saved |  |  | #N/A
Equivalent Environmental Impact*
CO2 Emissions (lbs) |  | #N/A | Fewer Cars on the Road |  |  | #N/A
(tons) |  | #N/A | Acres of Trees Planted |  |  | #N/A
Coal Emissions (lbs) |  | #N/A | Equivalent to Annual Electricity Usage of Households (#) |  |  | #N/A
| (tons) | #N/A
*Based on Environmental Protection Agency (EPA) emissions factor assumptions.
Return to HOME

## 10 Yr Maintenance Costs
Insert Logo Here
Annual Maintenance Cost Estimator: 10 Year Breakdown
Input
Output
Customer Information |  |  |  | Facility Information
Project Name:
|  |  |  | Annual Operating Hours | #VALUE!
Contact: |  |  |  | Controlled System | No
System Information |  |  | Existing System |  | Proposed System
| Description of System |  | Please Select |  | Please Select
| Quantity |  | 0 |  | 0
| Type of Lamp |  | #N/A |  | 0
| Lamp Life (hrs) |  | #N/A |  | #N/A
| Cost of Lamp |  | 0 |  | 0
| Number of Lamps Per Fixture |  | Please Select |  | Please Select
| Labor Cost to Spot Relamp per Lamp |  | 0 |  | 0
Annual Lamp Maintenance Cost
Quantity of Lamps Replaced Annually
| Ballast Type |  | #N/A |  | 0
| Ballast Life (hrs) |  | #N/A |  | #N/A
| Cost of Ballast |  | 0 |  | 12
| Number of Ballasts Per Fixture |  | Please Select |  | Please Select
| Labor Cost Change a Ballast |  | 0 |  | 0
Annual Ballast Maintenance Cost
Quantity of Ballasts Replaced Annually
Annual Maintenance Cost of System at Maturity
| Summarized 10 Year Cost |  | #VALUE! |  | 0
| 10 Year Savings Summary |  |  |  | #VALUE!
10 Year Average Annual Savings Summary |  |  |  |  | #VALUE!
Based on Existing System at Maturity and Proposed System with Lamp Maintenance at 3 Years and Ballast Maintenance at 5 Years.
Note: These are estimated savings only based on a number of variables and assumptions that could change over time. The actual savings derived may be higher or lower.
Return to TOP
Return to HOME
[10 empty] | Total # Ballasts | #VALUE!
| Maintenance Costs (Yr) |  | Existing Lamps |  | Existing Ballasts | Existing Maintenance | Proposed Lamps | Proposed Ballast | Proposed Maintenance | Ballast Life Hours
| 1 |  |  |  |  | #VALUE! |  |  | 0
| 2 |  |  |  |  | #VALUE! |  |  | 0
| 3 |  |  |  |  | #VALUE! |  |  | #VALUE!
| 4 |  |  |  |  | #VALUE! |  |  | #VALUE!
| 5 |  |  |  |  | #VALUE! |  |  | #VALUE!
| 6 |  |  |  |  | #VALUE! |  |  | #VALUE!
| 7 |  |  |  |  | #VALUE! |  |  | #VALUE!
| 8 |  |  |  |  | #VALUE! |  |  | #VALUE!
| 9 |  |  |  |  | #VALUE! |  |  | #VALUE!
| 10 |  |  |  |  | #VALUE! |  |  | #VALUE!
|  |  | 0 |  | 0 | 0 | 0 | 0 | 0
| Please Select | Lamp Life |  | ULT Warranty in Months (.95 survival rate) |  | ULT Warranty in Hrs | ULT Warranty in Hrs X2 |  |  |  |  | Input Watts
| HID, HPS | 24000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 130
| HID, 175W MH | 10000 |  | 2 | 8760 | 17520 | 35040
| HID, 250W MH | 10000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 129
| HID, 400W MH | 20000 |  | 2 | 8760 | 17520 | 35040
| HID, 1000W MH | 15000 |  | 2 | 8760 | 17520 | 35040
| HID, 250W PSMH | 15000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 189
| HID, 175W PSMH | 15000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 208
| HID, 150W PSMH | 15000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 288
| HID, 320W PSMH | 20000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 368
| HID, 350W PSMH | 20000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 400
| HID, 400W PSMH | 20000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 448
| HID, 750W PSMH | 16000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 820
| HID, 1000W PSMH | 12000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 1080
| HID, 70W ECON PSMH | 15000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 80
| HID, 100W ECON PSMH | 10000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 110
| HID, 150W ECON PSMH | 12000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 169
| HID, 200W ECON PSMH | 15000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 194
| HID, 250W ECON PSMH | 15000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 229
| HID, 175W ECON PSMH | 15000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 285
| HID, 320W ECON PSMH | 30000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 330
| HID, 350W ECON PSMH | 30000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 375
| HID, 400W ECON PSMH | 30000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 430
| HID, 450W ECON PSMH | 30000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 478
| HID, CMH | 20000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 272
| Fluorescent, T12 | 20000 |  | 3 | 8760 | 26280 | 52560 |  |  |  |  | 135
| Fluorescent, T12 HO/SL | 12000 |  | 3 | 8760 | 26280 | 52560 |  |  |  |  | 180
| Fluorescent, T12 U Lamp | 14000 |  | 3 | 8760 | 26280 | 52560 |  |  |  |  | 44
| Fluorescent, T12 VHO | 9000 |  | 3 | 8760 | 26280 | 52560 |  |  |  |  | 138
| Fluorescent, T5 | 30000 |  | 5 | 8760 | 43800 | 87600 |  |  |  |  | 25
| Fluorescent, T5 HO | 30000 |  | 5 | 8760 | 43800 | 87600 |  |  |  |  | 110
| Fluorescent, T8 | 20000 |  | 5 | 8760 | 43800 | 87600 |  |  |  |  | 182
| Fluorsecent, T8 Extra Life | 30000
| Fluorescent, T8 U Lamp | 20000 |  | 5 | 8760 | 43800 | 87600 |  |  |  |  | 34
| Compact Fluorescent, PL-H | 20000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 417
| Compact Fluorescent, Double/Triple Biax | 12000 |  | 2 | 8760 | 17520 | 35040 |  |  |  |  | 18
Please Select
1
2
3
4
6
8
| Please Select | Ballast Life
| Energy Efficient Magnetic | 60000
| Magnetic | 60000
| Programmed Start HBF | 80000
| Programmed Start LBF | 80000
| Programmed Start NBF | 80000
| Instant Start HBF | 80000
| Instant Start LBF | 80000
| Instant Start NBF | 80000
| CWA | 60000
| CWI | 60000
| Electronic HID | 80000
| High Reactance | 60000
| Reactor | 60000
| N/A | 0
Note on B36: This caclulation assumes both systems are aged and spot relamping is occuring
Note on C19: Assumed at 3 hrs per Start for FLR, 10 hrs per Start for HID
Note on C20: Costs should include purchase price and recycling/disposal costs
Note on C29: Costs should include purchase price and recycling/disposal costs
Note on C37: This calculation looks at the avoided average labor costs over 10 years and is inclusive of no maintenance on lamps for the 1st three years and no ballast maintenance for the first 5 years.

## ProductivityImpact
Insert Your Logo Here | Productivity Impact of Lighting Upgrade
Input
Output
Customer Information
Project Name:
Contact:
Lighting System Details
|  | Capital Investment: | 0
Estimated Payroll Expense:
|  | Estimated Productivity Increase (%): | 3%
|  | Productivity Impact of Lighting System Upgrade: | 0
|  | Productivity Payback: | 0
The aggregate of 25 studies on lighting and worker productivity have demonstrated that high perofrmance lighting sytems used in coordination with daylighting raised productivity levels from .7% to 26% with a median improvement of 3%. This is only an estimate. Actual productivity levels are dependent on factors not necessarily included in this simple calculation.
Return to HOME

## LuminaireSelector
Insert Logo Here
Refrigerated Cold Storage Retrofit Luminaire Selector
Input
Output
Customer Information
Project Name:
Contact:
Existing Fixture Characteristics
|  |  |  | Mounting Height | Please Select
|  |  |  | Select Existing Fixture Wattage & Source | Please Select
|  |  |  | Ambient Temperature | Please Select
|  |  |  | For Use with Motion Sensor | Please Select
|  | T5 Part Number | Energy Savings | Light Output | T8 Part Number | Energy Savings | Light Output
HB Series
2HB Series
I5/I8 Series
Arctic Bay Series
VT3 Series
MicroBay Series
Note: These are estimated savings only. These annual and monthly savings are based on a number of variables and assumptions that could change over time. The actual savings derived by your firm may be higher or lower.
Return to HOME
Please Select | Please Select | Please Select |  | Please Select
Yes | T5 | 20' |  | 250W MH |  | Please Select
No | T8 | 30' |  | 250W HPS |  | -15F (-26C)
|  | 40' |  | 400W MH |  | 0F (-18C)
|  |  |  | 400W HPS |  | 32F (0C)
|  |  |  | 1000W MH |  | 50F (10C)
|  |  |  | 1000W HPS |  | 77F (25C)
(1) 96" T12HO Strip
(2) 34W T12 Strip
Note on B13: Please select all options from each drop down menu option. Once all fields are selected click the Show me a fixture! button. To search for another criteria set, click the Clear Fields and select from the drop down menus.
Clear Fields
Show me a fixture!

## Website Links
Insert Logo Here
Helpful Web Links
Energy Efficiency Code Requirements
ASHRAE 90.1 | California Energy Commission (CEC)
90.1-2001 | Title 24
90.1-2001 Addenda | Title 20
90.1-2004 | International Dark Sky Association (IDA)
90.1-2004 Addenda | Consortium for Energy Efficiency (CEE)
Lighting Power Density | High Performance Lighting
International Energy Conservation Code (ICC) | Residential Lighting Initiative
Energy Incentives (Accreditation & Financial)
EPAct | U.S. Green Building Council
Commercial Building Tax Deduction Coalition | LEED
Tax Incentives Assistance Project (TIAP) | LEED-EB v2.0
Commercial Lighting Tax Deduction | LEED-NC v2.2
National Electrical Manufacturers Assoc. (NEMA) | ENERGY STAR
Department of Energy (DOE EERE) | Commercial ENERGY STAR
Cooper Lighting EPAct Calculator | Residential ENERGY STAR
Department of Energy
Energy Code Adoption | Rebate Links
Building Codes Assistance Project (BCAP) | State Incentives for Renewables & Efficiency (DSIRE)
Building Energy Code Check | EEI Demand Response Programs
Federal Energy Management Program (FEMP)
Energy Modeling Programs | National Grid
eQUEST | CEE Commercial Lighting Program Summary
VisualDOE | CEE Residential Lighting Program Summary
Industry Associations | Government Agencies & Related Sites
interNat'l Assoc. of Ltg. Maintenance Co. (NALMCO) | Department of Energy Home (DOE)
Edison Electric Institute (EEI) | Environmental Protection Agengcy Home (EPA)
National Electrical Manufacturers' Assoc. (NEMA) | DOE Energy Efficiency & Renewables Home (EERE)
Design Lights Consortium | Federal Energy Management Program (FEMP)
Illuminating Engineering Society of America (IESNA) | Energy Information Administration (EIA)
Nat'l Assoc. of Energy Services Co. (NAESCO)
Lighting Research Center (LRC)
National Lighting Bureau (NLB)
Recyling Resources
Lamprecycle.org
Lamp Recycling Companies (Lamprecycle.org)
Northeast Waste Management Officials' Association
Listed websites are not affliliated with Cooper Lighting as such Cooper Lighting is not responsible for site content accuracy and timeliness.
Return to TOP
Return to HOME
Note on D19: For clarifications for electrical equipment see the following sections: Material Reuse pg. 51 Recycled Content pg. 53 Regional Materials pg. 55